## Slide 1
INVESTOR WEBINAR — JAN 8
STRATEGIC REGULATORY ADVISORY
Regulatory Due
Diligence 101
(US FDA MedTech)
Ery Anguiano
APSIS Consulting Group

## Slide 2
APSIS CONSULTING GROUP
Ery Anguiano
Founder & Principal Consultant
Regulatory leader with 16+ years specializing in regulatory strategy and execution across MedTech and digital health startups.
STRATEGIC LEADERSHIP
Trusted by 50+ MedTech companies to provide strategic guidance to C-Suite Executives. Serves as commercialization mentor to federally funded innovation programs (ARPA-H & NIH NHLBI Catalyze).
REGULATORY EXPERTISE
Deep specialization in US 510(k), De Novo, and PMA pathways, helping startups de-risk R&D through effective regulatory intelligence and Quality Systems implementation (ISO 13485).
US/EU/Canada Strategy
Total Product Lifecycle
Design Quality Engineering
QA/RA Remediation
Risk Management
International Standards
"We streamline FDA pathways, de-risk submissions, and help you reach market faster without overbuilding RA."
02

## Slide 3
APSIS
CONSULTING GROUP
OBJECTIVES
Regulatory diligence protects capital
by preventing predictable value destruction
Predict Likely FDA Pathway
Analyze claims and intended use early to forecast regulatory burden before it becomes expensive.
Validating Evidence Architecture
Verify whether the startup’s evidence plan and quality system maturity actually align with their claims and risk.
Spot "Claim Drift" Early
Identify unauthorized markets and subtle claim expansion ("wellness" to "treatment") before the FDA does.
Learn from Real Failures
Examine case studies (WHOOP, Owlet, 23andMe) where regulatory strategy errors forced delays or withdrawals.
MedTech Regulatory Due Diligence Framework
03
Notes: Slide: What we will see today
Transition: So what does the Investment Landscape Look Like? Why is this Important?

## Slide 4
APSIS
CONSULTING GROUP
04
Capital is real: device VC is billions per year
US VC deployed ~$11.3B into MedTech in 2025
Source: JP Morgan Q4 2025 Medtech Licensing and Venture Report
TOTAL DEPLOYED
$11.3B
MedTech (J.P. Morgan, 2025)
DEAL VOLUME
323
Total Deals
Seed and Series A - ACTIVITY
113
deals
$1.9B
Total Value
≈$16M
Avg Deal Size
Notes: Slide: While Investment is Down, substantial capital is still being deployed.
Transition: Where is the capital deployed?

## Slide 5
APSIS
CONSULTING GROUP
Venture Investment Shift: Later-Stage Dominance
Medtech Funding Trends & Deal Composition Analysis - Q4 2025
MARKET SHIFT VISUALIZATION
Analyst Note: Deal flow has heavily concentrated on later-stage companies (65%). Investors are prioritizing de-risked assets with proven clinical data over early-stage concepts.
MARKET DOMINANCE
65%
of All Venture Rounds
Series B and Later Stage
CAPITAL ALLOCATION
$9.3B
Invested in Later Stage
210
Rounds (B+)
~71%
of Total Funding
SOURCE: J.P. MORGAN MEDTECH LICENSING AND VENTURE REPORT, Q4 2025
05
Notes: Slide: Investors seem to be more risk averse. Despite high allocation to new sectors like AI
Transition: How do you manage risk with earlier stage companies?

## Slide 6
Source: PitchBook, NVCA, Carta 2024. 2025 Reports
APSIS
CONSULTING GROUP
ECONOMICS
Early rounds are big enough; diligence is "cheap insurance"
A small diligence budget can prevent a forced pathway reset later.
MARKET VOLUME
$1.9B
Invested via 25,000+ instruments
Seed-A Series funding
DEAL SIZE
~$3.5M
Median Seed Round
Venture Sector on PitchBook (Q3 2025)
INVESTMENT EFFORT
~118 hrs
Internal VC diligence time
Average time spent per investment (survey evidence)
INVESTOR HEURISTIC
0.5% – 2%
Of check size for RA diligence
Recommended "insurance premium" when FDA risk is material
06
Notes: Slide: De-risk with diligence
Transition: What do we mean by diligence? Lets Level-Set

## Slide 7
Definition: what "Regulatory Due Diligence 101" means
Regulatory Due Diligence 101 is the investor skill of predicting a MedTech product’s likely US FDA regulatory path from its claims/intended use...
...and then validating the startup’s evidence plan, design controls/QMS maturity, and commercialization behavior are aligned with that path.
Goal: Prevent "Regulatory Debt" — rework, unusable data, delayed submissions, enforcement risk.
07
Notes: Transition: Diligence is a large topic, aggregation of many risk vectors. So what is in/out of Scope?

## Slide 8
APSIS
CONSULTING GROUP
In scope vs out of scope
We will focus on regulatory risk drivers not general VC diligence
08
IN SCOPE
Claims ↔ intended use ↔ marketing language alignment
Pathway prediction: Class I/II/III; 510(k)/De Novo/PMA
Evidence plan: bench, software V&V, HF, cyber, clinical (as needed)
QMS/design controls readiness by stage
Unauthorized markets / promotion risk (apps, pilots, disclaimers)
OUT OF SCOPE
TAM/SAM/SOM; segmentation; positioning; pricing; sales strategy
Reimbursement (except where it forces claims/evidence choices)
Detailed financial modeling, valuation, term sheets, exit strategy
BOUNDARY NOTE
Financial and commercial metrics are critical, but regulatory missteps can invalidate the assumptions underlying them.
08
Notes: Transition: Must make note that Diligence is a small piece of overall diligence.

## Slide 9
APSIS
CONSULTING GROUP
VC paradigms we are NOT covering
Most classic VC diligence is orthogonal to FDA authorization risk.
Market sizing
GTM & sales motion
Pricing
Unit economics
Competitive landscape
Partnerships/BD
Team (general)
IP strategy (deep)
Fundraising strategy
Exit / Valuation
Manufacturing scale-up
Reimbursement (deep)
Exception: team competence in RA/QA/clinical is in-scope for regulatory diligence.
09
Notes: Slide: As Investor you have expertise to analyze most of these other vectors. Why not offload regulatory diligence to SMEs.
Transition: So what do we see being common myths that increase Regulatory Uncertainty?

## Slide 10
APSIS
CONSULTING GROUP
VALUE DESTRUCTION RISKS
Common Assumptions that Create Regulatory Uncertainty
The fastest way to lose time is believing "we're just wellness" or "too early for compliance."
MYTH
“We’ll use disclaimers to keep us 'wellness'."
REALITY:
FDA evaluates objective intent based on functionality, marketing context, and design — not just footer text.
MYTH
"We'll figure FDA out after launch of first product."
REALITY:
Launch can create immediate unauthorized market exposure, triggering enforcement before you pivot.
MYTH
"Clinical pilot data will be enough for submission”
REALITY:
Without design controls and GCP, early data is often non-submission-grade and must be completely redone.
MYTH
"510(k) is the default pathway."
REALITY:
Novel features or claims can force you into De Novo or PMA, regardless of technology similarity.
10
Notes: Transition: How do you approach Diligence?

## Slide 11
The diligence "spine" ties claims to execution link
Claims determine pathway, evidence, system requirements, and market behavior constraints.
Start diligence here: Does evidence match the claim?
Claims &
Intended Use
The foundational anchor. What do you say it does?
1
Likely Class
& Pathway
510(k), De Novo, or PMA? Determined by risk profile.
2
Evidence
Burden
Bench, clinical, cyber, & human factors testing required.
3
QMS / Design
Controls
Maturity of quality systems to support the claim.
4
Allowed
Marketing
What you can legally sell, say, and market.
5
APSIS
CONSULTING GROUP
11
Notes: Slide: We’ve automated internally some of the high-level analysis. Regulatory Snapshot Agent.
Transition: Why are claims important?

## Slide 12
APSIS
CONSULTING GROUP
CLAIMS ANATOMY
Intended use and indications are legal constructs but marketing language still counts towards intent
Intended Use
The core purpose of the device. What the product essentially is and what it does (e.g., "measures blood pressure").
Indications for Use
The specific clinical context: Who (patient population), Where (clinical setting/home), and When (condition/disease) it is used.
Marketing Claims
Includes explicit statements and implied claims found in apps, pitch decks, testimonials, and website copy.
FDA's Lens: Objective Intent
FDA evaluates intent based on the totality of evidence: labeling, design features, advertising, and oral statements.
Investor Note: Deck language can become evidence of intent during enforcement.
12
Notes: Slide: Reasonably Foreseeable Misuse
Transition: Why are the Claims you make so important?

## Slide 13
Apsis Consulting Group
FDA PATHWAYS: INVESTOR CHEAT SHEET
DILIGENCE GUIDE
Pathway choice is usually dictated by risk + predicates, not founder preference.
PATHWAY
WHEN IT’S TYPICALLY USED
KEY DILIGENCE ARTIFACT
COMMON INVESTOR TRAP
510(k)
SUBSTANTIAL EQUIVALENCE
Substantial equivalence to a legally marketed predicate device.
Predicate Memo
+ SE Rationale
Predicate exists, but claims/intended use don’t match.
De Novo
NOVEL / NO PREDICATE
Novel low-to-moderate risk devices with no direct predicate.
De Novo Rationale
+ Controls Strategy
Assuming 510(k) speed/cost when it’s actually De Novo.
PMA
CLASS III / HIGH RISK
High risk (Class III), life-sustaining, or implanted devices.
Clinical Program
+ Mfg Readiness
Underestimating clinical data depth + inspection burden.
13
Notes: Slide: Claims / technology determine pathway. Pathway determines capital requirements and Timeline
Transition: Another way to view how claims relate to Risk Classification and thus to Pathway.

## Slide 14
APSIS
CONSULTING GROUP
Claim Drift Ladder
Small wording changes can silently trigger a higher-risk FDA posture
The Predictable Trap
Founders often believe they can stay in "Wellness" while adding features that silently push them up the ladder.
FDA regulates based on INTENT, which is inferred from functionality.
Threshold Alarms
Setting a specific limit (e.g., "Alert if HR > 100") implies clinical monitoring, moving you out of wellness.
INVESTOR DILIGENCE CHECK
"Does the product roadmap include features that force a climb up this ladder without the corresponding budget for clinical evidence?"
Treatment / Prevention
Highest Risk (PMA/De Novo)
Diagnosis / Clinical Decision
High Risk (Class II/III)
Triage
Moderate Risk
Monitoring
Low-Moderate Risk
Wellness
General Wellness (Not a Device)
14
Notes: Slide: More you claim, the higher the risk.
Transition: Same technology result in vastly different products, regulatory paths and strategic product development pipelines.

## Slide 15
REGULATORY STRATEGY LEVER
Product roadmapping: Retire evidence risk in phases
Investor Takeaway: You can build different products by stratifying claims—versioning regulatory burden like software releases prevents late re-pathing and forces market withdrawals.
v1
MARKET ENTRY
Monitoring
"Wellness" or general purpose tracking. Trends & insights only. No specific disease claims.
ALLOWED CLAIMS
"Track your daily trends"
"Gain insights"
Bench Performance
Basic Safety (60601)
Evidence Gate 1
v2
SCALE & VALUE
Alerting
Adds thresholds & notifications. Moves from passive insight to active monitoring.
510(k) Clearance
Human Factors (Summative)
Software V&V (Moderate)
Evidence Gate 2
ALLOWED CLAIMS
"Notifications for high HR"
"Irregular Rhythm Notification"
De Novo / PMA
Pivotal Clinical Trial
Reimbursement Coding
v3
CLINICAL STANDARD
Diagnostic
Full diagnostic or therapeutic claims. Directs patient management decisions.
ALLOWED CLAIMS
"Diagnose Atrial Fibrillation"
"Aid in diagnosis of..."
Evidence Gate 3
15
Notes: Slide: If your target has a defensible product roadmap aligned to risk, pathway capital requirements and evidence burden, you’ve removed most of the regulatory risk.
Transition: So what is reasonable to expect from a startup?

## Slide 16
STEP 01
Pre-seed
Lock claim boundaries + start lightweight design controls
Goal: Prevent unusable early data & rework
STEP 02
Seed
Draft labeling + credible pathway memo + evidence plan
Goal: Avoid repeating expensive studies
STEP 03
Series A
Submission-grade evidence + QMS operating in reality
Goal: FDA-ready evidence & inspectable system
What must exist vs. hypothesized: Rigor increases at each stage. Early errors compound into "Regulatory Debt".
Hypothesis
Planning
Execution
Stage expectations: prevent irreversible mistakes early
Early-stage diligence is about preventing irreversible mistakes, not perfect paperwork.
APSIS
CONSULTING GROUP
16
Notes: Slide: Understandable to have a different expectations bar depending on the maturity of the startup.
Transition: Safe to make the case that with different expectations, comes a differing level of scrutiny.

## Slide 17
APSIS
CONSULTING GROUP
IMPLEMENTATION STRATEGY
Match diligence depth to risk & deal stage
Don't over-diligence a Pre-seed, but don't under-diligence a Series A
Snapshot
FAST
Review Time: < 24 hours
Claims scan (website vs deck)
Pathway hypothesis check
Top risks identification
Competitor 510(k) check
BEST FOR
Pre-Seed / Initial Screen
Deep
INTENSE
Review Time: 2-4 weeks
Submission readiness / Timeline Projection
Design controls record sampling
Test protocol & report review
Clinical ops / Data integrity audit
BEST FOR
Series A+ / High Risk
Core
STANDARD
Review Time: 1-2 weeks
Labeling v0 review (Intended Use)
Pathway memo / Pre-Sub review
Evidence plan plausibility check
QMS gap scan / Design controls status
BEST FOR
Seed / Series A Default
18
Notes: Transition: When and why would you need deeper diligence?

## Slide 18
EVIDENCE ARCHITECTURE
MOST FDA GATES IN EARLY MEDTECH ARE NON-CLINICAL
Founders often underestimate these. A robust evidence plan extends far beyond clinical trials.
Bench / Performance
Accuracy, reliability, durability, and stress testing against consensus standards.
Software V&V
Requirements → Verification Tests → Traceability Matrix. IEC 62304 compliance.
Human Factors / Usability
Critical task analysis, formative testing, and summative validation for home use safety.
Cybersecurity
Threat modeling, vulnerability management, patching plan, and SBOM approach.
EMC / Electrical Safety
If hardware involved: IEC 60601-1 series testing for electromagnetic compatibility.
Biocompatibility
For patient-contact devices: ISO 10993 series, sterilization validation, reprocessing.
Interoperability
If claims depend on systems: interface validation, data exchange standards, API testing.
Clinical Evidence
Often gated by the completion of all preceding non-clinical items.
Key Insight: Most regulatory risk sits in the engineering files, not just the clinical protocol.
Apsis Consulting
Group
19
Notes: Slide: Mistake Founders/C-Suite make is to underestimate the time and effort building their evidence structure. All of these vectors have time and capital requirements.
Transition: Along with the evidence architecture you need to factor what’s outside your control.

## Slide 19
Apsis Consulting Group
FDA REVIEW CLOCK VS REAL TIMELINE
FDA Day goals exclude hold time—total calendar time includes rework
FDA GOALS (THE CLOCK)
REALITY: THE WATERFALL
Step 1
Acceptance Review
Step 2
Substantive Review Starts
THE "HOLD" (CLOCK STOPS)
Additional Information (AI) Cycles
FDA pauses the clock. You must generate new data (Cyber, HF, Bench).
~180
DAYS
Step 3
Review Resumes & Labeling Negotiation
TOTAL CALENDAR TIME
5 — 12+ Months
(FDA Days + Holds + Response Gen)
510(k) Program
GOAL
90
FDA Days
REALITY CHECK
Median Review: 126 Days (2025)
De Novo Program
GOAL
150
FDA Days
REALITY CHECK
Median Review: 299 Days (2025)
16
Notes: Slide: How well you’ve prepared will dictate your timeline, but an accurate estimate in your Timeline should include FDA review time and maybe even an AI. Underestimating your evidence architecture results in AI holds.
Transition: So how do you factor everything in?

## Slide 20
Source: Investor Diligence Frameworks
Confidential & Proprietary
APSIS
CONSULTING GROUP
EVALUATION FRAMEWORK
Red-flag scoring rubric to prioritize regulatory risk
Use consistent scoring across deals to evaluate regulatory uncertainty objectively.
IMPACT
Severity
How much value is destroyed if this risk materializes?
LOW
MED
HIGH
e.g., Forced withdrawal vs. simple labeling update
PROBABILITY
Likelihood
How probable is enforcement or failure (AI hold) given current signals?
REMOTE
POSSIBLE
PROBABLE
e.g., Clear violation vs. grey area interpretation
REMEDIATION
Fix Cost (Late)
Time + Cash + Opportunity Cost if found after investment.
<$50K
$100K+
>$1M / RESET
e.g., Paperwork update vs. repeating clinical trial
VISIBILITY
Investor Detectability
How hard is it to find this risk in a data room?
EASY
MODERATE
HARD (DEEP)
e.g., Public website claim vs. buried test failure
20
Notes: Transition: Lets Put our rubric to work. Looking at some red flags that should’ve been caught earlier on, but weren’t.

## Slide 21
APSIS
CONSULTING GROUP
RED FLAG #1
Selling first can become the violation—and force a stop-sell or channel disruption
Disclaimers Rarely Save You
Fine print disclaimers rarely protect against enforcement if product functionality and marketing context imply medical intent.
"Pilot" vs. Investigation
Calling it a "pilot" doesn't bypass IDE requirements. If data is collected for safety/effectiveness, FDA views it as a clinical investigation.
Unauthorized Markets
Selling before clearance can become the violation itself, forcing expensive returns, retailer suspensions, and public recalls.
Investor Diligence Focus
Audit exactly where it is sold, what users see on the landing page, and how marketing claims are approved internally.
Founder Failure Mode: Believing "beta" labels or T&C disclaimers override objective medical intent.
21

## Slide 22
RED FLAG #1: UNAUTHORIZED MARKETS
Case: Owlet Smart Sock — Sales suspension & revenue impact
28
Financial Impact: Owlet recorded a $23.2M contra-revenue adjustment tied to returns after sales suspension.
REAL MARKET CONSEQUENCE
Sequence of Events
FDA Rationale
FUNCTION
SpO₂ / HR Tracking
+
BEHAVIOR
Alarm to Notify
= Diagnostic Intent (Medical Device)
"marketing Owlet Smart Socks... without marketing clearance or approval... [in violation of the FD&C Act]"
— FDA WARNING LETTER
"...recorded a contra-revenue adjustment of $23.2 million... primarily related to returns of the Smart Sock."
— OWLET FINANCIAL REPORTING
Oct 2021
FDA Warning Letter
"Marketing without clearance"
Late 2021
Sales Halted
Retailers suspend US sales; returns accepted
Q4 2021
Financial Hit
$23.2M contra-revenue adjustment
Nov 2023
De Novo Granted
Authorization for "Dream Sock"
A
22
Notes: Slide:
Severity: Looking at claims ladder – Alerts were higher on the scale least a Med.
Likelihood: in 2021 with the current wellness guidance. At least a “Possible” Today – Less
Fix Cost: High
Mitigation: Pre-Submission.

## Slide 23
APSIS
CONSULTING GROUP
RED FLAG #2
Misaligned Strategy: Non-Medical Services extend to Medical Claims.
The Missing 510(k)
Founders often claim a "fast 510(k)" strategy without predicate logic. If they can't name a legally marketed device with the same intended use, the strategy won’t work.
Endpoint Mismatch
Clinical endpoints often measure "user engagement" or "wellness" while claims promise diagnostic accuracy. Evidence must map 1:1 to the marketing language.
Late Claim Changes
Changing claims late in development (e.g., adding "diagnosis") creates a pathway reset. Previous data becomes unusable if it wasn't collected under strict design controls for that new risk profile.
Investor Focus
Ask for the "Regulatory Strategy Memo." If the product build, evidence plan, and draft labeling are not telling the exact same story, value destruction is imminent.
Classic Failure Mode: "We'll do a 510(k)" with no predicate logic
23
Notes: Slide: Non-rigorous analysis can show you increased risk.
Transition: Lets look at another case study

## Slide 24
RED FLAG #2: MISALIGNED STRATEGY
Case: 23andMe (Product Contraction)
EXECUTIVE SUMMARY
23andMe received an FDA warning letter regarding health-related genetic tests. The company discontinued marketing health-related tests until completing FDA review. Until Oct 2015, US offering was limited to ancestry reports + raw data. Mechanism: claim scope/risk triggered regulatory requirements beyond readiness.
BUSINESS IMPACT
Scope Contraction
Impact not publicly quantified in $
INVESTOR DILIGENCE CATCH
If selling DTC health insights, treat FDA authorization as a core business constraint—not a "later" task. Claim scope drives pathway, not just technology.
Nov 2013
FDA Warning Letter
"Marketing without clearance or approval... potential health consequences of false positive/negative results."
DURATION
~2 Years
Oct 2015
Market Limitation
"Provided only Ancestry Reports and raw data..."
Health-related product withdrawn from US market pending regulatory review.
A
24
Notes: Slide: Another example of De Novo
Severity: Looking at claims ladder – Alerts were higher on the scale least a Treatment/Prevention
Likelihood: At least a “Possible” Today – Less
Fix Cost: High
Transition:

## Slide 25
APSIS
CONSULTING GROUP
RED FLAG #3: UNSUBSTANTIATED CLAIMS
When claims exceed evidence
Implied Claims Count
Marketing materials, testimonials, and phrases like "medical-grade" or "clinically validated" establish objective intent, even if not on the label.
Silent Burden Shift
A subtle shift from "monitoring" to "diagnosis" or "clinical decision support" drastically increases evidence requirements and regulatory risk.
Enforcement Risk
If claims outpace data, you face Warning Letters, forced recalls, or class-action lawsuits that destroy valuation overnight.
Investor Diligence Catch
Don't just read the pitch deck. Explicitly ask for the draft labeling and the claim-to-evidence map per claim.
Risk Assessment: High Severity × High Likelihood
25

## Slide 26
CASE STUDY
Red Flag #3
WHOOP Blood Pressure Insights
Executive Summary: WHOOP marketed Blood Pressure Insights (BPI) with "daily systolic and diastolic...estimations." On July 14, 2025, FDA issued a Warning Letter stating the product was marketed without clearance/approval. FDA concluded intended use is BP estimation → inherently tied to diagnosing hypo-/hypertension.
Public dispute continues
No public FDA authorization
Timeline of Events
May 2025
FDA Meetings
Initial discussions regarding BPI feature classification.
July 14, 2025
FDA Warning Letter
Marketed without clearance/approval. Rejected wellness claim.
Present Status
Public Dispute
WHOOP maintains BPI is a "wellness feature."
What They Said
FDA
"The marketing of Blood Pressure Insights... without marketing clearance or approval [violates the FD&C Act]."
- FDA Warning Letter
"Blood Pressure Insights is a wellness feature, not a medical device... we disagree with the FDA's characterization."
- WHOOP Statement
INVESTOR DILIGENCE CATCH
Ask for: Exact screenshots + draft intended use + regulatory memo addressing BP device classification logic. Don't accept "it's wellness" for physiological parameters typically requiring clinical validation.
R
26
Notes: Slide:
High Risk – High Reward
CEO had conversations with Secretary Kennedy
FDA Commissioner publicly spoke about these guidance's citing technology that sounded exactly like the whoop product. Also mentioned desire for FDA to work at Silicon Valley Speed.
Wellness Guidance updated very quickly and without public comment which is typical.
Traditional Regulatory Environment this was a risky decision.
Seizures and Injunctions.

## Slide 27
A
APSIS
CONSULTING GROUP
RED FLAG #4
Hidden complexity turns “simple” products into heavy evidence + lifecycle obligations
Cybersecurity Lifecycle
It's a forever obligation, not a one-time test. Requires patching, vulnerability intake, and SBOM management.
Home & Caregiver Workflows
Moving care to the home often triggers rigorous Human Factors (HF) summative testing and strict labeling constraints.
Interoperability Claims
Connecting to other systems requires a defined test strategy to prove safety and data integrity under failure.
Investor Focus
Identify “non-clinical” evidence that becomes gating. Missing HF or Cyber plans can stall submissions for months.
Unresolved Regulatory Impacts
27

## Slide 28
Source: Investor Diligence Frameworks
APSIS
CONSULTING GROUP
INVESTOR TAKEAWAY
Early fixes are cheap; late fixes are expensive
Because they force rework, re-pathing, and distract leadership from growth.
INVESTMENT STAGE
THE CHEAP FIX (EARLY)
THE LATE COST (REWORK)
Foundation Pre-Seed "Concept & Prototype"
Lock Claim Boundary + Start Doc Control
Prevents generating unusable early data.
Unusable Pilot Data
Pilot data collected without basic controls often cannot support FDA submission, forcing a complete redo.
Validation Seed "Design Freeze & Testing"
Build Traceability Before V&V
Ensures testing explicitly proves claims.
Repeat Verification Studies
Testing without traceability often misses new requirements, forcing expensive lab re-runs.
Scale Series A "Submission & Launch"
Mature QMS Implementation
Operating system ready for inspection.
Remediation Under Pressure
Fixing a broken QMS while trying to launch is 3x more costly and distracts leadership from sales.
28
Notes: Slide: Earlier the risks are caught, the cheaper it is to fix. Later risks are caught, the costlier the rework.
Transition: How do you do this analysis?

## Slide 29
APSIS
CONSULTING GROUP
INCLUDED RESOURCE
Comprehensive Due Diligence Rubric
Use this rubric as your repeatable investor checklist to screen opportunities, deepen analysis, and compare deals objectively.
Stage-Specific Expectations
Pre-seed / Seed / Series A
Red-Flag Scoring
Severity / Likelihood / Fix Cost / Detectability
Case-Study Patterns
Recognize failure modes quickly
1
SCREEN
2
DEEPEN
3
DECIDE
29

## Slide 30
Thank
You
REGULATORY DUE DILIGENCE 101
Ery Anguiano
Principal Consultant
"Helping investors spot regulatory uncertainty before it destroys value."
Ery.Anguiano@apsiscg.com
www.apsiscg.com
linkedin.com/in/eryanguiano
APSIS CONSULTING GROUP
01
Claims come first. They dictate your regulatory pathway, required evidence burden, and exactly what you are allowed to sell.
02
Wellness is not a shield. FDA evaluates objective intent and context. Disclaimers don’t necessarily outweigh functional design and marketing claims.
03
Diligence is leverage. Spending 0.5%–2% of check size early prevents expensive "regulatory debt" resets, recalls, and enforcement later.
Download the Comprehensive Due Diligence Rubric from the webinar resources.
If you remember only three things…
30